## Apr 2025
NGO TRANSMISSION, INC.
Available Capacity Report
Month: April 2025
Facility Name | Facility Type | Design Capacity (MMBtu/d) | Scheduled Volumes (MMBtu/d) | Capacity Reductions (MMBtu/d) | Available Unscheduled Capacity (MMBtu/d) | Capacity Offered for Release (MMBtu/d)
DTI Station | Receipt Point | 5150 | 4400 | 0 | 750 | 0
Spratt Station | Receipt Point | 3279 | 0 | 0 | 3279 | 0
TET Station 062 | Receipt Point | 11784 | 9497 | 0 | 2287 | 0
TET Station 095 | Receipt Point | 5300 | 299 | 0 | 5001 | 0
TET Station 73225 | Receipt Point | 8000 | 0 | 8000 | 0 | 0
Storage | Injection | 17716 | 0 | 17716 | 0 | 0
| Withdrawal | 43260 | 3533 | 39727 | 0 | 0
Notes
1. Capacity is generally scheduled on a monthly basis on NGO Transmission's system.
2. NGO Transmission does not require shippers to nominate individual delivery points.
3. The three storage fields on NGO Transmission's system (Perry, Zane, and Muskie) are operated on a pool basis. Shippers do not nominate injections or withdrawals from individual fields. Moreover, all storage capacity has been contracted by a single shipper under a contract providing for firm No-Notice Service. Interruptible Storage Service is provided to the extent NGO Transmission determines that it does not require storage capacity to fulfill its No Notice Service obligations.